## HVAC RFB# 05-1118
Vendor Name
COUNTY BID ON; City of Milwaukee only
COST SHEET BID REQUIREMENTS:
1. Bidders are required to bid on all line items in Sec. 1 - Forced Air Heating systems (a, b. c. & d) and/or Sec. 2 - Boilers (a, b).
2. All pages of this cost sheet must be submitted as part of bid.
|  | 3. CAPACITY: Identify number of jobs per month you are able to complete for this contract: | [5 empty] | jobs per month.
4. BRAND NAME/MODEL #: Complete brand names and model numbers are required for each appliance. Only one brand name and model number per appliance may be entered as a bid on the cost sheet. A product data specification sheet must be provided for each referenced appliance.
5. STANDARD INSTALLATION: All Per Unit Bid prices for heating system replacements must include all materials and labor for a “standard” installation, according to manufacturer’s specifications and the technical specifications of this RFB. Bid pricing direction for what is included in a "standard" installation is provided in each section to ensure that bidders understand the components to include in their bid price. However, items on the cost sheet do NOT represent all weatherization program requirements. Please review the RFB and attachments for all program requirements.
6. ADDITIONAL WORK: Additional work not included in the Per Unit Price or specified in the miscellaneous sections will be billed on an actual material and labor basis, according to the labor rate and material mark-up percentage in your bid. All additional work, and associated charges, must be approved by the Agency prior to performance of such work.
7. Do not alter the structure of this cost sheet - simply enter all line item prices.
8. OTHER BID REQUIREMENTS: The above list highlights requirements related to the Cost Sheet. Other requirements are identified in the the RFB and attachments.
NOTES:
1. Informational Pricing - these bid prices will not be included in the totals due to limited occurrences of these items. See Request For Bid (RFB), 1.3 Definitions.
2. See RFB, 4.5, Method of Award. This bid consists of two separate total bid amounts: Section 1 - Forced Air Heating Systems and Section 2 - Boiler Heating Systems. The lowest responsible bidder(s) may be awarded either section, or both sections.
3. Do not include required Permits and Payment Bonding fees in bid pricing - these fees will be reimbursed through the invoicing process.
4. The Agency may request additional quotes from successful bidder(s) for subsequent special projects.
5. Estimated Quantities are based on past history. This is not a guarantee of actual quantities, but is a basis to determine the lowest responsible bidder.
Printed name / Title
Signature | [5 empty] | Date
SECTION 1 - FORCED AIR HEATING SYSTEMS
For every line item in Section 1, EXCEPT items in Miscellaneous (1E), the standard installation Per Unit price must include the following:
1. Trip/service charge
2. SIZING: Completion of industry accepted Heating System Sizing calculation sheet; unit must be sized for the home based on post-Wx conditions.
3. All materials and labor must meet state Weatherization Program requirements and Per Manufacturer's Instructions (PMI); see Attachment 4 - Technical Specifications for Heating System Work for the WI Wx and HE+ Furnace Programs for detailed installation specifications.
4. Gas leak testing of complete gas system, with the first 5 leaks repaired at no charge and additional leaks repaired at a fixed fee of $50.00 each (prior approval from Agency required.
5. Test holes in PVC sealed with 3/8" threaded nylon plug and a metal plug or hi-temp sealant for metal flue pipe, as applicable.
6. Removal and proper disposal of existing unit.
7. Electrical line and connection to existing dedicated circuit with service disconnect at the new unit.
8. Contractor sticker placed on heating equipment, including name, contact information, date of install or service performed.
9. Customer education on operation and maintenance of the new unit, including operation manual, warranty information and a review of safety precautions.
10. Sealing of openings in chimneys where existing natural-draft appliances are eliminated.
11. Visual inspection, performance tests and completion of applicable check list Replacement or Repair/Clean & Tune. (See Attachment 7)
Sec. 1-12. A commercially manufactured or Agency approved filter rack with sealing filter cover. (Note - filters are invoiced separately)
Sec. 1-13. Determine status of existing Air Conditioning unit and document. Any additional work to protect the installed heating system must be approved by the Agency prior to the performance of such work.
Sec. 1-14. Installed and sealed ductwork as necessary at the new unit, including required transition(s).
1A FORCED AIR GAS FURNACES
For every line item in Section 1, EXCEPT items in Miscellaneous (1E), the standard installation Per Unit price must include the following:
1A-1. All PVC pipe and fittings for venting.
1A-2. Maximum 8 feet gas line piping and gas fittings and valves.
1A-3. PVC vent piping sealed with appropriate sealant on the interior and exterior.
1A-4. Rotate furnace 180 degrees, if needed.
1A-5. Check gas piping connection to new unit. Bond newly installed CSST, if applicable.
1A-6. Permanently seal off oil tank fill pipe, if tank not being removed (in an oil to gas conversion), and keep tank vent to the exterior connected.
1A-7. Unit supported off the floor with non-absorbent material.
| Item (AFUE must be ≥95%) |  |  | Brand and Model Number |  | Unit Price |  | Est. Qty |  | Sub Total
1. | Forced Air Furnace, ≥95%AFUE, 2 stage constant torque with ECM motor, NG or LP, (2 pipe, sealed combustion). Up to 40,000 BTU input. |  |  |  | $ |  | /EA. | 50 | $ | 0
2. | Forced Air Furnace, ≥95%AFUE, 2 stage constant torque with ECM motor, NG or LP, (2 pipe, sealed combustion). 41,000 to 60,000 BTU Input. |  |  |  | $ |  | /EA. | 100 | $ | 0
1A FORCED AIR GAS FURNACES continued
| Item (AFUE must be ≥95%) |  |  | Brand and Model Number |  | Unit Price |  | Est. Qty |  | Sub Total
3. | Forced air furnace, ≥95%AFUE, 2 stage constant torque with ECM motor, NG or LP, (2 pipe, sealed combustion). 61,000 to 80,000 BTU Input. |  |  |  | $ |  | /EA. | 50 | $ | 0
4. | Forced Air Furnace, ≥95%AFUE, NG or LP, (2 pipe, sealed combustion). Up to 40,000 BTU input. |  |  |  | $ |  | /EA. | Informational pricing
5. | Forced Air Furnace, ≥95%AFUE, NG or LP, (2 pipe, sealed combustion). 41,000 to 60,000 BTU Input. |  |  |  | $ |  | /EA. | Informational pricing
6. | Forced air furnace, ≥95%AFUE, NG or LP, (2 pipe, sealed combustion). 61,000 to 80,000 BTU Input. |  |  |  | $ |  | /EA. | Informational pricing
7. | Forced Air Furnace, NG or LP, (2 pipe, sealed combustion). 81,000 to 100,000 BTU Input. |  |  |  | $ |  | /EA. | Informational pricing
8. | Forced Air Furnace, NG or LP, (2 pipe, sealed combustion). 101,000 to 120,000 BTU Input. |  |  |  | $ |  | /EA. | Informational pricing
9. | Furnace Clean & Tune, NG or LP (see Attachment 4 for required measures). |  |  |  | $ |  | /EA. | 50 | $ | 0
|  |  | Total for Category #1A - Forced Air Gas Furnaces |  |  |  |  | 0
1B FORCED AIR OIL FURNACES (Informational Pricing - not included in bid total)
For 1B bid items, the standard installation Per Unit Price must also include the following:
1B-1. Unit supported off the floor with non-absorbent material.
1B-2. Oil line connection to new furnace and filters; install new fuel filters and purge fuel lines.
| Item (AFUE must be ≥83%) |  |  | Brand and Model Number |  | Unit Price |  | Est. Qty |  | Sub Total
1. | Forced Air Furnace, Oil (Non Energy Star), 40,000 to 99,000 BTU Input. |  |  |  | $ |  | /EA. | Informational pricing
2. | Forced Air Furnace, Oil (Non Energy Star), 100,000 to 150,000 BTU Input. |  |  |  | $ |  | /EA. | Informational pricing
3. | Furnace Clean & Tune, Oil (see Attachment 4 for required measures). |  |  |  | $ |  | /EA. | Informational pricing
1C GAS SPACE HEATERS
For 1C bid items, the standard installation Per Unit Price must also include the following:
1C-1. Unit supported off the floor with non-absorbent material.
1C-2. Maximum 8 feet gas line piping and gas fittings and valves.
1C-3. Check gas piping connection to new unit. Bond newly installed CSST, if applicable.
1C-4. Provide a properly grounded duplex receptacle for electrical service to the unit, as necessary.
1C-5. Electronic Intermittent Pilot or Electric Ignition. No standing pilot lights.
1C-6. Installer shall implement a means to drain condensate (or deliver condensate to an approved drain). An evaporator pan is not an acceptable condensate management system.
1C-7. Venting into chimney or through side wall with appropriate material, sealed on the interior and exterior where feasible. No vent free units.
1C-8. Air circulating fan required.
| Item |  |  | Brand and Model Number |  | Unit Price |  | Est. Qty |  | Sub Total
1. | “B” Vent / Free-Standing Cabinet Gas Space Heaters, NG or LP, ≥70% AFUE. ≥20,000 BTU Input. |  |  |  | $ |  | /EA. | 25 | $ | 0
2. | Condensing Gas Space Heaters, NG or LP, ≥90% AFUE. ≥20,000 BTU Input |  |  |  | $ |  | /EA. | Informational pricing
|  |  | Total for Category #1C - Gas Space Heaters |  |  |  |  | 0
1D MISCELLANEOUS ITEMS
| Item |  |  |  |  | Unit Price |  | Est. Qty |  | Sub Total
1. | Repair/diagnosis trip charge (non-emergency) - assessment or repair only. Includes trip charge, safety testing (per Attachment 4, leak-testing gas piping, etc.), diagnostics as required and photos. To be used with: (a) applicable item(s) from Miscellaneous section and/or (b) when a repair requires labor rate & material mark-up, if applicable. |  |  |  | $ |  | /EA. | 100 | $ | 0
2a. | Trip charge only - No replacement or repair performed, system is operable and safe. Minimal service call - Examples include: turn system on, re-set circuit breaker, replace thermostat batteries, etc. Includes visual inspection, identify safety concerns, instruct customer in proper operation of furnace, photos as needed to document charges. |  |  |  | $ |  | /EA. | Informational pricing
2b. | Trip charge (Emergency) - response required within 2 hours of notification or after normal business hours (M-F 8am-5pm). Includes gas leak and combustion safety testing. |  |  |  | $ |  | /EA. | Informational pricing
3. | MARK-UP: The Agency estimates that over the contract year there may be approximately $20,000 worth of materials used that are not included in this bid. Provide percent mark-up on materials not included in this bid (enter as whole number, e.g. 5, 10, 15). |  |  |  | $ |  | % | 10000 | $ | 0
0
4. | LABOR RATE: Hourly Rate for any additional Labor not included in this bid as specified. |  |  |  | $ |  | /hr. | 200 | $ | 0
5. | Cap unused gas line. |  |  |  | $ |  | /EA. | 100 | $ | 0
All items listed below this line must include material and labor. Do not include a trip charge in the unit price for these items.
6. | Replace/add gas cock. |  |  |  | $ |  | /EA. | 50 | $ | 0
7. | Install ½" or ¾" black gas pipe, per linear foot (includes fittings and connections). |  |  |  | $ |  | /LF. | 500 | $ | 0
8. | Disconnect gas line, venting and seal chimney penetration for wood stove, trash burner, or space heater. |  |  |  | $ |  | /EA. | 50 | $ | 0
9. | Gas leak repair per Gas Leak Protocol (see below):
| a. | 1-5 leaks per unit - no charge |  |  | $ | 0 | /EA. | 0 | $ | 0
| b. | 6+ leaks per unit - $50.00 each (fixed price) |  |  | $ | 50 | /EA. | 20 | $ | 1000
10. | Replace flexible appliance gas supply line for cooking range or dryer. |  |  |  | $ |  | /EA. | Informational pricing
11. | Replace gas control valve (atmospheric water heater/heating system). |  |  |  | $ |  | /EA. | Informational pricing
12. | Replace gas control valve (power-vented water heater). |  |  |  | $ |  | /EA. | Informational pricing
13. | Remove unused oil tank after heating system fuel switch per most restrictive regulatory guidelines. |  |  |  | $ |  | /EA. | 25 | $ | 0
14. | Replace return air drop to accommodate filter rack. |  |  |  | $ |  | /EA. | 150 | $ | 0
15. | Manufactured filter rack with sealing filter cover for non-replacement heating work. (Filter rack with cover is included with new heating system installs) |  |  |  | $ |  | /EA. | 50 | $ | 0
16. | Furnace filters (install one ≥MERV 6, 1" air filter and leave 5 extra). |  |  |  | $ |  | /Job | 400 | $ | 0
17. | Media furnace filter (provide 1 media filter, i.e., SpaceGard, Air Bear or equivalent). |  |  |  | $ |  | /Job | 50 | $ | 0
18. | Condensate pump with new condensate hose connected to floor drain. |  |  |  | $ |  | /EA. | 50 | $ | 0
19. | Condensate pump with new condensate hose connected to approved drainage connection (see Attachment 8 - Condensate Requirements). |  |  |  | $ |  | /EA. | 100 | $ | 0
20. | Trip strip for condensate hose per linear foot. |  |  |  | $ |  | /LF. | 200 | $ | 0
21. | Thermostat, Digital, Programmable, capable of operating 2 stage furnace. Include proper disposal of old thermostat. |  |  |  | $ |  | /EA. | 200 | $ | 0
22. | Thermostat, Digital, Non-Programmable. Include proper disposal of old thermostat. |  |  |  | $ |  | /EA. | 50 | $ | 0
23. | Thermostat, Digital, for vision-impaired customer. Include proper disposal of old thermostat. Temperature number as seen in display to be ≥⅞" in height. |  |  |  | $ |  | /EA. | Informational pricing
24. | Chimney liner - up to 25 ft; new 4” rigid pipe connected to combustion appliance and chimney cap; patch any additional unused chimney penetrations. |  |  |  | $ |  | /EA. | 50 | $ | 0
25. | Chimney liner - up to 35 ft; new 4” rigid pipe connected to combustion appliance and chimney cap; patch any additional unused chimney penetrations. |  |  |  | $ |  | /EA. | 200 | $ | 0
26. | Chimney liner - up to 50 ft; new 4” rigid pipe connected to combustion appliance and chimney cap; patch any additional unused chimney penetrations. |  |  |  | $ |  | /EA. | Informational pricing
27. | Re-vent combustion appliance with 4" rigid pipe into chimney (no chimney liner). |  |  |  | $ |  | /EA. | 100 | $ | 0
28. | Add 4" wye-connector and venting to one additional combustion appliance. |  |  |  | $ |  | /EA. | 100 | $ | 0
29. | Removal of register/grille from plenum or ductwork (includes proper patch of opening). |  |  |  | $ |  | /EA. | 200 | $ | 0
30. | Install supply off trunk in lieu of plenum grille, includes duct, damper and register. |  |  |  | $ |  | /EA. | 50 | $ | 0
31. | Supply duct installation (per lineal foot); includes installation of dampers & registers. |  |  |  | $ |  | /LF. | 1000 | $ | 0
32. | Return duct installation (per lineal foot); includes grilles. |  |  |  | $ |  | /LF. | 1000 | $ | 0
33. | Ceiling mounted return air filter grille. |  |  |  | $ |  | /EA. | 50 | $ | 0
34. | Supply or return R-11 foil faced insulation (per lineal foot) added to existing ductwork. |  |  |  | $ |  | /LF. | 200 | $ | 0
35. | Flexible 6" insulated supply/return through unconditioned space (per lineal foot), min. R-11 insulation, includes damper. |  |  |  | $ |  | /LF. | 500 | $ | 0
36. | A-coil cleaning including creation of access (photos of pre and post required). |  |  |  | $ |  | /EA. | Informational pricing
37. | Cold space furnace installation, includes the following: overflow pan, condensate line (gravity) to approved drain, all heat tape, overflow safety switch, gas line, electrical line, PVC/B-vent out roof or side wall with necessary adapters and termination, plenum and return insulated with R-11 foil faced insulation. |  |  |  | $ |  | /EA. | 30 | $ | 0
38. | Rotate existing furnace 90°; include sheet metal transitions, gas line connection, electrical and venting. |  |  |  | $ |  | /EA. | Informational pricing
39. | Re-vent combustion appliance with B-vent pipe through the roof; include pipe, flashing, termination cap and roof penetration. |  |  |  | $ |  | /EA. | Informational pricing
40. | Remove whole humidifier from plenum or return air drop; include removal/disposal of unit, sealing of penetration and capping of water supply. |  |  |  | $ |  | /EA. | 50 | $ | 0
41. | Bond existing CSST, up to 20 feet. |  |  |  | $ |  | /EA. | 30 | $ | 0
42. | Install PVC intake to existing 90%+ furnace to create sealed combustion furnace. |  |  |  | $ |  | /EA. | 30 | $ | 0
43. | Install new dedicated line and circuit with connection where required for new heating system installation. |  |  |  | $ |  | /EA. | 200 | $ | 0
44. | Install new GFCI for condensate pump. |  |  |  | $ |  | /EA. | 200 | $ | 0
45. | Install service light within vicinity of heating system which operates on a different circuit than the heating system. |  |  |  | $ |  | /EA. | 50 | $ | 0
46. | Water Heater PRV overflow tube. |  |  |  | $ |  | /EA. | 30 | $ | 0
47. | Worst Case Depressurization with Draft Test (WCD) when directed. Test done on natural drafting appliances only for entire 1-4 unit building. |  |  |  | $ |  | /TEST | 50 | $ | 0
|  |  | Total for Category #1D - Miscellaneous |  |  |  |  | 1000
|  |  | Grand Total (1A,1B,1C,1D) - Forced Air Heating Systems |  |  |  |  | 1000
SECTION 2 - BOILER HEATING SYSTEMS
For every line item in Section 2, EXCEPT items in Miscellaneous (2B), the standard installation Per Unit price must include the following:
1. Trip/service charge
2. SIZING: Completion of industry accepted Heating System Sizing calculation sheet; unit must be sized for the home based on post-Wx conditions.
3. All materials and labor must meet state Weatherization Program requirements and Per Manufacturer's Instructions (PMI); see Attachment 4 - Technical Specifications for Heating System Work for the WI Wx and HE+ Furnace Programs for detailed installation specifications.
4. Gas leak testing of complete gas system, with the first 5 leaks repaired at no charge and additional leaks repaired at a fixed fee of $50.00 each (prior approval from Agency required.
5. Test holes in PVC sealed with 3/8" threaded nylon plug and a metal plug or hi-temp sealant for metal flue pipe, as applicable.
6. Removal and proper disposal of existing unit.
7. Electrical line and connection to existing dedicated circuit with service disconnect at the new unit.
8. Contractor sticker placed on heating equipment, including name, contact information, date of install or service performed.
9. Customer education on operation and maintenance of the new unit, including operation manual, warranty information and a review of safety precautions.
10. Sealing of openings in chimneys where existing natural-draft appliances are eliminated.
11. Visual inspection, performance tests and completion of applicable check list Replacement or Repair/Clean & Tune. (See Attachment 7)
Sec. 2-12. Venting into chimney or through side wall with appropriate material, sealed on the interior and exterior where feasible.
Sec. 2-13. Check gas piping connection to new unit. Bond newly installed CSST, if applicable.
Sec. 2-14. Maximum 8 feet gas line piping and gas fittings and valves.
Sec. 2-15. Expansion tank, back flow preventer, auto fill valve.
Sec. 2-16. Permanently seal off oil tank fill pipe, if tank not being removed (in an oil to gas conversion), and keep tank vent to the exterior connected.
Sec. 2-17. Equip a high efficiency boiler with an outside air temperature sensor installed on a north-facing exterior wall.
Sec. 2-18. Bleed air and water from entire system; flush and refill system according to PMI. With a zoned system, flush each zone separately.
Sec. 2-19. Shut off “full port” valves (do not use globe valves).
Sec. 2-20. Main circulating pump installed after expansion tank.
Sec. 2-21. Replace flow control/check valves, air gap, secondary aquastat, secondary circulating pump, WYE strainer, pressure relief valve, air separator.
Sec. 2-22. All PVC and gas/water fittings, couplings and valves and connections to boiler and distribution system.
Sec. 2-23. Inspect all radiators for airlocks and leaks.
Sec. 2-24. Unit supported off the floor with non-absorbent material.
2A BOILERS
| Item |  |  | Brand and Model Number |  | Unit Price |  | Est. Qty |  | Sub Total
1. | Boiler, modulating burner, NG or LP, ≥95% AFUE; 20,000 to 99,999 BTU input. |  |  |  | $ |  | /EA. | 25 | $ | 0
2. | Boiler, modulating burner, NG or LP, ≥95% AFUE; 100,000 to 150,000 BTU input. |  |  |  | $ |  | /EA. | Informational pricing
3. | Boiler, NG or LP, ≥84% AFUE; 20,000 to 99,999 BTU input. |  |  |  | $ |  | /EA. | Informational pricing
4. | Boiler, NG or LP, ≥84% AFUE; 100,000 to 150,000 BTU input. |  |  |  | $ |  | /EA. | Informational pricing
5. | Boiler, Oil, ≥83% AFUE; 40,000 to 100,000 BTU input. |  |  |  | $ |  | /EA. | Informational pricing
6. | Boiler Clean & Tune, NG or LP (see Attachment 4 for required measures) |  |  |  | $ |  | /EA. | Informational pricing
7. | Boiler Clean & Tune, Oil (see Attachment 4 for required measures) |  |  |  | $ |  | /EA. | Informational pricing
|  |  | Total for Category #2A - Boilers |  |  |  |  | 0
2B MISCELLANEOUS ITEMS
| Item |  |  |  |  | Unit Price |  | Est. Qty |  | Sub Total
1. | Repair/diagnosis trip charge (non-emergency) - assessment or repair only. Includes trip charge, safety testing (per Attachment 4, leak-testing gas piping, etc.), diagnostics as required and photos. To be used with: (a) applicable item(s) from Miscellaneous section and/or (b) when a repair requires labor rate & material mark-up, if applicable. |  |  |  | $ |  | /EA. | 50 | $ | 0
2a. | Trip charge only - No replacement or repair performed, system is operable and safe. Minimal service call - Examples include: turn system on, re-set circuit breaker, replace thermostat batteries, etc. Includes visual inspection, identify safety concerns, instruct customer in proper operation of furnace, photos as needed to document charges. |  |  |  | $ |  | /EA. | Informational pricing
2b. | Trip Charge (Emergency) - response required within 2 hours of notification or after normal business hours (M-F 8am-5pm). Includes gas leak and combustion safety testing. |  |  |  | $ |  | /EA. | Informational pricing
3. | MARK-UP: The Agency estimates that over the contract year there may be approximately $20,000 worth of materials used that are not included in this bid. Provide percent mark-up on materials not included in this bid (enter as whole number, e.g. 5, 10, 15). |  |  |  | $ |  | % | 20000 | $ | 0
0
4. | LABOR RATE: Hourly Rate for any additional Labor not included in this bid as specified. |  |  |  | $ |  | /hr. | 200 | $ | 0
All items listed below this line must include material and labor. Do not include a trip charge in the unit price for these items.
5. | Thermostat, Digital, Non-Programmable. Include proper disposal of old thermostat. |  |  |  | $ |  | /EA. | 25 | $ | 0
6. | Thermostat, Digital, for vision-impaired customer. Include proper disposal of old thermostat. Temperature number as seen in display to be ≥⅞" in height. |  |  |  | $ |  | /EA. | Informational pricing
7. | Expansion tank, includes removal of old unit. |  |  |  | $ |  | /EA. | 25 | $ | 0
8. | Auto fill valve. |  |  |  | $ |  | /EA. | 25 | $ | 0
9. | Back-flow preventer (When specified by Agency on clean and tune only). |  |  |  | $ |  | /EA. | 25 | $ | 0
10. | Add/replace circulating pump. |  |  |  | $ |  | /LF. | 25 | $ | 0
11. | Secondary aquastat for high limit as required. |  |  |  | $ |  | /EA. | Informational pricing
12. | Zone valve. |  |  |  | $ |  | /EA. | Informational pricing
13. | Zone Relay Control. |  |  |  | $ |  | /EA. | Informational pricing
14. | Chimney liner - up to 25 ft; new 4” rigid pipe connected to combustion appliance and chimney cap; patch any additional unused chimney penetrations. |  |  |  | $ |  | /EA. | 15 | $ | 0
15. | Chimney liner - up to 35 ft; new 4” rigid pipe connected to combustion appliance and chimney cap; patch any additional unused chimney penetrations. |  |  |  | $ |  | /EA. | 25 | $ | 0
16. | Chimney liner - up to 50 ft; new 4” rigid pipe connected to combustion appliance and chimney cap; patch any additional unused chimney penetrations. |  |  |  | $ |  | /EA. | Informational pricing
17. | Re-vent combustion appliance with 4" rigid pipe into chimney (no chimney liner). |  |  |  | $ |  | /EA. | 100 | $ | 0
18. | Add 4" wye-connector and venting to one additional combustion appliance. |  |  |  | $ |  | /EA. | 100 | $ | 0
19. | Cap unused gas line. |  |  |  | $ |  | /EA. | 50 | $ | 0
20. | Replace/add gas cock. |  |  |  | $ |  | /EA. | 50 | $ | 0
21. | Install ½" or ¾" black gas pipe per linear foot (includes fittings and connections). |  |  |  | $ |  | /LF. | 500 | $ | 0
22. | Gas leak repair per Gas Leak Protocol (see below):
| a. | 1-5 leaks per unit - no charge |  |  | $ | 0 | /EA. | 0 | $ | 0
| b. | 6+ leaks per unit - $50.00 each (fixed price) |  |  | $ | 50 | /EA. | 20 | $ | 1000
23. | Replace flexible gas supply line for range or dryer appliance. |  |  |  | $ |  | /EA. | Informational pricing
24. | Replace gas control valve (atmospheric water heater / heating system). |  |  |  | $ |  | /EA. | Informational pricing
25. | Replace gas control valve (power vented water heater). |  |  |  | $ |  | /EA. | Informational pricing
26. | Remove unused oil tank after heating system fuel switch. Includes removal of remaining fuel, removal and proper disposal of tank. |  |  |  | $ |  | /EA. | Informational pricing
27. | Install new dedicated line and circuit with connection, where required for new heating system installation. |  |  |  | $ |  | /EA. | 25 | $ | 0
28. | Condensate pump with new condensate hose connected to floor drain. |  |  |  | $ |  | /EA. | 25 | $ | 0
29. | Condensate pump with new condensate hose connected to approved drainage connection (see Attachment 8 - Condensate Requirements). |  |  |  | $ |  | /EA. | 25 | $ | 0
30. | Trip strip for condensate hose |  |  |  | $ |  | /LF. | 200 | $ | 0
31. | Install new GFCI for condensate pump. |  |  |  | $ |  | /EA. | 25 | $ | 0
32. | Bond existing CSST, up to 20 feet |  |  |  | $ |  | /EA. | 25 | $ | 0
33. | Water Heater PRV overflow tube |  |  |  | $ |  | /EA. | 25 | $ | 0
34. | Install service light within vicinity of heating system which operates on a different circuit than the heating system. |  |  |  | $ |  | /EA. | 25 | $ | 0
35. | Worst Case Depressurization with Draft Test (WCD) when directed. Test done on natural drafting appliances only for entire 1-4 unit building. |  |  |  | $ |  | /TEST | Informational pricing
|  |  | Total for Category #2B - Miscellaneous Items |  |  |  |  | 1000
|  |  | Grand Total (2A,2B) - Boiler Heating Systems |  |  |  |  | 1000