## Plumbing RFB Cats. 1-5
Vendor Name
COUNTY BID ON; City of Milwaukee only
COST SHEET BID REQUIREMENTS:
1. Bidders are required to bid on all line items in all categories.
2. All pages of this cost sheet must be submitted as part of bid.
|  | 3. CAPACITY: Identify the number of jobs per month you are able to complete for this contract: | [5 empty] | jobs per month.
4. BRAND NAME/MODEL #: Complete brand names and model numbers are required for each appliance. Only one brand name and model number per appliance may be entered into the cost sheet. A product data specification sheet must be provided for each referenced appliance.
5. STANDARD INSTALLATION: All Per Unit Bid prices for water heater replacements must include all materials and labor for a “standard” installation, according to manufacturer’s specifications and the technical specifications of this RFB.
6. ADDITIONAL WORK: Additional work not included in the Per Unit Price or specified in the miscellaneous sections will be billed on a material and labor basis, according to the labor rate and material mark-up percentage in your bid. All additional work, and associated charges, must be approved by the Agency prior to performance of such work.
7. Do not alter the structure of this cost sheet - simply enter all line item prices.
NOTES:
1. Informational Pricing - these bid prices will not be included in the totals due to limited occurrences of these items. See Request For Bid (RFB), 1.3 Definitions.
2. See RFB, 4.5, Method of Award.
3. Do not include required Permits and possible Payment Bond fees in bid pricing - these fees will be reimbursed directly without any mark-up through the invoicing process.
4. Agency may request additional quotes from successful bidder(s) for subsequent special projects.
5. Estimated Quantities are based on past history. This is not a guarantee of actual quantities, but is a basis to determine the lowest responsible bidder.
Printed name / Title
Signature | [5 empty] | Date
CATEGORY # 1 POWER VENTED WATER HEATERS
The full bid/standard installation price includes all of the following:
Trip/service charge, cost of minimum .67EF/.64UEF3 unit installed per manufacturer’s instructions (PMI), GFCI recepticle on a dedicated circuit, isolate and drain system as required, check gas pressure of new unit, install full port ball valve on cold water inlet and full port ball valve on hot water outlet, gas and water piping with fittings and connections to the unit, bonding of CSST, all PVC venting, pressure relief valves and drain pipes, metal vent piping, valves, removal and proper disposal of old unit, patching of all unused chimney penetrations, re-installation of removed existing pipe wrap, gas leak test of complete gas system with the first 5 leaks repaired at no charge (and additional leaks repaired at a fixed fee of $50.00 each). Contractor is required to clean out all aerators throughout the building upon restoration of the water system to ensure proper flow. Permit fees are not to be included in bid pricing.
|  |  |  | Brand and Model Number |  | Unit Price |  | Est. Qty |  | Sub Total
1. | Convl to .67EF/.64UEF3 Power Vented 40 gal. |  |  |  | $ |  | /EA. | 75 | $ | 0
2. | Convl to .67EF/.64UEF3 Power Vented 50 gal. |  |  |  | $ |  | /EA. | Informational Pricing
3. | Electric to .67EF/.64UEF3 Power Vented 40 gal. including 20 lin.ft. black pipe & fittings for gas supply and removal of existing electric. |  |  |  | $ |  | /EA. | 50 | $ | 0
4. | Electric to .67EF/.64UEF3 Power Vented 50 gal. including 20 lin.ft. black pipe & fittings for gas supply and removal of existing electric. |  |  |  | $ |  | /EA. | Informational Pricing
|  |  |  | Total unit price CATEGORY #1 |  |  |  | 0
CATEGORY # 2 CONVENTIONAL WATER HEATERS (Informational Pricing)
The full bid/standard installation price includes all of the following:
Trip/service charge, cost of minimum .67EF/.64UEF3 unit installed per manufacturer’s instructions (PMI), GFCI recepticle on a dedicated circuit, isolate and drain system as required, check gas pressure of new unit, install full port ball valve on cold water inlet and full port ball valve on hot water outlet, gas and water piping with fittings and connections to the unit, bonding of CSST, all PVC venting, pressure relief valves and drain pipes, metal vent piping, valves, removal and proper disposal of old unit, patching of all unused chimney penetrations, re-installation of removed existing pipe wrap, gas leak test of complete gas system with the first 5 leaks repaired at no charge (and additional leaks repaired at a fixed fee of $50.00 each). Contractor is required to clean out all aerators throughout the building upon restoration of the water system to ensure proper flow. Permit fees are not to be included in bid pricing.
|  |  |  | Brand and Model Number |  | Unit Price
1. | Conventional to .67EF/.64UEF3 Conventional: 40 gal. |  |  |  | $ |  | /EA. | Informational Pricing
CATEGORY # 3 ELECTRIC WATER HEATERS (Informational Pricing)
The full bid/standard installation price includes all of the following:
Trip/service charge, cost of .95 EF/.93 UEF3 unit installed per manufacturer’s instructions (PMI), electrical line and connection to existing power source, isolate and drain system as required, install full port ball valve on cold water inlet and full port ball valve on hot water outlet, water piping with fittings and connections to the unit, removal and proper disposal of old unit, re-installation of removed existing pipe wrap, pressure relief valve and drain pipe, valves. Contractor is required to clean out all aerators throughout the building upon restoration of the water system to ensure proper flow. Permit fees are not to be included in bid pricing.
|  |  |  | Brand and Model Number |  | Unit Price
1. | Electric min. .95 EF/.93 UEF3 40 gal. including electrical connection |  |  |  | $ |  | /EA. | Informational Pricing
CATEGORY # 4 Miscellaneous
All items listed below include material & labor costs in addition to a trip charge. Trip charge is not applicable if a water heater replacement is part of the scope of work.
[6 empty] | Unit Price |  | Est. Qty |  | Sub Total
1. | The Agency Estimates that over the contract year there may be aproximately $3000 worth of materials used that are not included on this bid. Please provide your Percent Mark-up on materials not included in this bid, enter whole number: | [5 empty] | % | 5000 | $ | 0
2. | Trip Charge (non-emergency) Includes gas leak test protocol with repairs of complete gas system. |  |  |  | $ |  |  | 50 | $ | 0
3. | Trip Charge (emergency) Immediate response or after normal business hours (M-F 8am-5pm) requested by the Agency. Includes gas leak test protocol with repairs of complete gas system. |  |  |  | $ |  |  | 5 | $ | 0
4. | Hourly Rate on Labor not included in this bid: |  |  |  | $ |  | /hr | 100 | $ | 0
5. | Chimney liner up to 25’, new 4” rigid pipe connected to combustion appliance, liner and chimney cap. Patch any additional chimney penetrations. |  |  |  | $ |  | /EA. | 50 | $ | 0
6. | Chimney liner up to 35’, new 4” rigid pipe connected to combustion appliance, liner and chimney cap. Patch any additional chimney penetrations. |  |  |  | $ |  | /EA. | 100 | $ | 0
7. | Chimney liner up to 50’, new 4” rigid pipe connected to combustion appliance, liner and chimney cap. Patch any additional chimney penetrations. |  |  |  | $ |  | /EA. | 10 | $ | 0
8. | Add wye connector and 4" rigid pipe to additional combustion appliance. |  |  |  | $ |  | /EA. | 25 | $ | 0
9. | Re-vent existing water heater with 4” rigid vent pipe. |  |  |  | $ |  | /EA. | 50 | $ | 0
10. | Cap unused gas line |  |  |  | $ |  | /EA. | 25 | $ | 0
11. | Gas leak repair per Gas Leak Protocol
|  |  | 1-5 leaks | No Charge | $ | 0 |  | 0 | $ | 0
|  |  | 6+ leaks | $50.00 each (fixed price) | $ | 50 | /EA. | 100 | $ | 5000
12. | Add Pressure Relief Valve pipe (discharge 2-6 inches from floor) |  |  |  | $ |  | /EA. | 25 | $ | 0
13. | Replace Pressure Relief Valve |  |  |  | $ |  | /EA. | 25 | $ | 0
14. | Replace shut off valve, 1/2" or 3/4" includes shutting off water and purging system. Contractor is required to clean out all aerators throughout the building upon restoration of the water system to ensure proper flow. |  |  |  | $ |  | /EA. | 20 | $ | 0
CATEGORY # 4 Miscellaneous continued
All items listed below include material & labor costs in addition to a trip charge. Trip charge is not applicable if a water heater replacement is part of the scope of work.
[6 empty] | Unit Price |  | Est. Qty |  | Sub Total
15. | Replace/add 1/2" gas cock |  |  |  | $ |  | /EA. | 50 | $ | 0
16. | Add 1/2" drop leg to existing black gas pipe or CSST |  |  |  | $ |  | /EA. | 20 | $ | 0
17. | Install CSST gas line with proper bonding when directed by SDC |  |  |  | $ |  | /LF. | 100 | $ | 0
18. | Install 1/2" black gas pipe per linear foot (includes fittings and connections) |  |  |  | $ |  | /LF. | 300 | $ | 0
19. | Install 3/4" black gas pipe per linear foot (includes fittings and connections) |  |  |  | $ |  | /LF. | 200 | $ | 0
20. | Install 1" black gas pipe per linear foot (includes fittings and connections) |  |  |  | $ |  | /LF. | 100 | $ | 0
21. | Install/replace 1/2" water supply (includes fittings and connections). Includes shutting off water and purging system. Contractor is required to clean out all aerators throughout the building upon restoration of the water system to ensure proper flow. |  |  |  | $ |  | /LF. | 200 | $ | 0
22. | Install/replace 3/4" water supply (includes fittings and connections). Includes shutting off water and purging system. Contractor is required to clean out all aerators throughout the building upon restoration of the water system to ensure proper flow. |  |  |  | $ |  | /LF. | 300 | $ | 0
|  |  |  | Total unit price CATEGORY #4 |  |  |  | 5000
|  |  |  | Total unit price CATEGORY #1 |  |  |  | 0
|  |  |  | Grand Total Of All Bid Categories |  |  |  | 5000